## Read First
Please read the following instructions before completing the Template
1. Does the format in which the data is pasted into the Excel template matter?
Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:
• That the data is pasted into the correct fields
• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive
• That the pasted data does not contain any embedded formulas
• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this.
You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus.
2. Why are the units of measurement that I entered into the excel template invalid?
Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid.
3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?
The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal.
Note: that there are no macros functions in this year’s templates.
NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser.
Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage.
Otherwise, please feel free to contact us at BPSSupport@ontario.ca

## Submission Data
Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document. | Energy Consumption and Greenhouse Gas Emissions Reporting - for 2012 | [34 empty] | FloorArea | Electricity | NaturalGas | FuelOil12 | FuelOil46 | Propane | Coal | Wood | DistrictHeating | DistrictCooling | Renewable | operation Type | Administrative offices and related facilities, including municipal council chambers | Public libraries | Cultural facilities | Indoor recreational facilities | Community centres | Art galleries | Performing arts facilities | Auditoriums | Indoor sports arenas | Indoor ice rinks | Indoor swimming pools | Gyms and indoor courts for playing tennis, basketball or other sports | Ambulance stations and associated offices and facilities | Fire stations and associated offices and facilities | Police stations and associated offices and facilities | Storage facilities where equipment or vehicles are maintained, repaired or stored | Parking garages | Facilities related to the treatment of water | Facilities related to the treatment of sewage | Facilities related to the pumping of water | Facilities related to the pumping of sewage | Other
Confirm consecutive 12-mth period (mth-yr to mth-yr) | [35 empty] | Square feet | kWh | Cubic Meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | Metric Tonne | Giga Joule | Yes
Sector | [35 empty] | Square meters |  | Giga Joule | [5 empty] | Giga Joule | KL Chilled Water | No
Agency Sub-sector | CityMunicipality | [36 empty] | ekWh | [5 empty] | KL Hot Water
Organization Name | City of London | Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage.
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (Mega Litres) | Energy Type and Amount Purchased and Consumed in Natural Units | [21 empty] | Total (calculated in webform)
[9 empty] | Electricity |  | Natural Gas |  | Fuel Oil 1 & 2 |  | Fuel Oil 4 & 6 |  | Propane |  | Coal |  | Wood |  | District Heating |  |  |  | District Cooling |  |  |  | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Energy Intensity (ekWh/Mega Litre) | Building / Operation Identifier | Comments
[9 empty] | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Renewable? | If Yes, enter Emission Factor | Quantity | Unit | Renewable? | If Yes, enter Emission Factor
Stephenson Building | Administrative offices and related facilities, including municipal council chambers | 2160 Yonge Street | Toronto | M7A 2G5 | 135034 | Square meters | 70 | 23516.0022 | 2181065 | kWh | 125300 | Cubic meter |  | Litre |  | Litre |  | Litre |  | Metric Tonne |  | Metric Tonne | 26.73 | Giga Joule | No | 0 | 20.506 | Giga Joule | No | 0 |  |  |  |  | max. 255 characters
AJ TYLER - MAIN BLDG & (E) WATER/SEWER BLDG | Administrative offices and related facilities, including municipal council chambers | 663 BATHURST ST | London | N5Z 1P8 | 12721 | Square feet | 50 | 0 | 960267.38 | kWh | 83364.55 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 249835.3482 | 145.1338 | 0
CITY HALL | Administrative offices and related facilities, including municipal council chambers | 300 DUFFERIN AVE | London | N6B 1Z2 | 174990 | Square feet | 126 | 0 | 2551993.7 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 3979.5966 | Giga Joule | No | 0 | 2940.6648 | Giga Joule | No | 0 | 504849.5465 | 22.3154 | 0
ENVIRO PROGS - RENTAL | Administrative offices and related facilities, including municipal council chambers | 520 WELLINGTON ST UN 1,2,3 | London | N6A 3R2 | 2819 | Square feet | 60 | 0 | 21751.92 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2089.0544 | 7.7162 | 0
J ALLAN TAYLOR BLDG | Administrative offices and related facilities, including municipal council chambers | 267 DUNDAS ST | London | N6A 1H2 | 26110 | Square feet | 70 | 0 | 286063.9 | kWh | 7773.1 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 1454.6448 | Giga Joule | No | 0 | 1851.1256 | Giga Joule | No | 0 | 143392.3573 | 35.5634 | 0
OXFORD OPS CTRE | Administrative offices and related facilities, including municipal council chambers | 1570 OXFORD ST W | London | N6H 1W2 | 2700 | Square feet | 80 | 0 | 5346.894 | kWh | 9635.4998 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 18730.6517 | 39.9077 | 0
PROVINCIAL OFFENCE ACT OFFICES | Administrative offices and related facilities, including municipal council chambers | 824 DUNDAS ST | London | N5W 5R1 | 22690 | Square feet | 70 | 0 | 336642.3 | kWh | 30839.97 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 90638.0065 | 29.2817 | 0
T-BLOCK(NG shared WOLSELY) | Administrative offices and related facilities, including municipal council chambers | 652 ELIZABETH ST | London | N5Y 4T7 | 16320 | Square feet | 70 | 0 | 38788.23 | kWh | 40428.21 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 80159.887 | 28.7041 | 0
TOURISM LONDON | Administrative offices and related facilities, including municipal council chambers | 696 WELLINGTON RD | London | N6C 4R2 | 3400 | Square feet | 70 | 0 | 32128.2 | kWh | 10887.61 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 23670.0018 | 43.4821 | 0
CENTENNIAL HALL | Auditoriums | 550 WELLINGTON ST | London | N6A 3P9 | 50050 | Square feet | 70 | 0 | 835993.34 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 2897.6966 | Giga Joule | No | 0 | 1024.0041 | Giga Joule | No | 0 | 260395.4541 | 34.5076 | 0
BOYLE CC | Community centres | 530 CHARLOTTE ST | London | N5W 4A4 | 8522 | Square feet | 126 | 0 | 66450.24 | kWh | 9787.48 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 24886.355 | 20.0034 | 0
BYRON CC - POLE BASE | Community centres | 1308 NORMAN AVE | London | N6K 2A3 | 8290 | Square feet | 126 | 0 | 101916 | kWh | 23517.49 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 54250.8142 | 42.4433 | 0
CARLING HEIGHTS OCC | Community centres | 654 ELIZABETH ST | London | N5Y 6L3 | 38090 | Square feet | 126 | 0 | 42603.21 | kWh | 145645.88 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 279453.6455 | 41.7562 | 0
CIVIC GARDEN COMPLEX | Community centres | 625 SPRINGBANK DR | London | N6K 4T1 | 19312 | Square feet | 126 | 0 | 173939.88 | kWh | 109942.31 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 224565.0858 | 69.5103 | 0
EAST LIONS ARTISANS CC & POOL | Community centres | 1731 CHURCHILL AVE | London | N5W 5P4 | 6682 | Square feet | 126 | 0 | 112597.82 | kWh | 30761.22 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 68971.8877 | 65.7769 | 0
HAMILTON RD SENIORS CENTRE | Community centres | 898 TRAFALGAR ST | London | N5Z 1G2 | 8622 | Square feet | 126 | 0 | 87038.51 | kWh | 16106.51 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 38810.5812 | 29.9484 | 0
KIWANIS SENIOR CENTRE | Community centres | 78 RIVERSIDE DR | London | N6H 1B4 | 17200 | Square feet | 126 | 0 | 257311.08 | kWh | 21029.33 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 64470.7752 | 27.9538 | 0
LAMBETH CC (NG ALSO FEEDS ARENA) | Community centres | 7112 BEATTIE ST | London | N6P 1A2 | 17600 | Square feet | 126 | 0 | 912.55 | kWh | 73749.96 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 139521.3069 | 44.5858 | 0
NORTH LONDON OCC | Community centres | 1345 CHEAPSIDE ST | London | N5V 3N9 | 55200 | Square feet | 126 | 0 | 677587.72 | kWh | 70798.99 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 198930.0067 | 25.9062 | 0
SOUTH LONDON CC | Community centres | 1119 JALNA BLVD | London | N6E 3B3 | 29460 | Square feet | 126 | 0 | 185254.3 | kWh | 33009.62 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 80200.7018 | 18.1966 | 0
SPRINGBANK GARDENS COM CTRE | Community centres | 205 WONDERLAND RD S | London | N6K 3T3 | 2420 | Square feet | 126 | 0 | 28658.6 | kWh | 5922.75 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 13950.083 | 37.853 | 0
SPRINGBANK PARK-FLINT COTTAGE | Community centres | 1097 SPRINGBANK DR | London | N6K 1C5 | 1773 | Square feet | 70 | 0 | 1672.77 | kWh | 1207.83 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2444.2088 | 8.1835 | 0
EP WILLIAMS ESTATE | Cultural facilities | 101 WINDERMERE RD | London | N6G 2J4 | 9330 | Square feet | 126 | 0 | 16110.51 | kWh | 12479.31 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 25140.9738 | 15.9419 | 0
GROSVENOR LODGE | Cultural facilities | 1017 WESTERN RD | London | N6G 1G5 | 9220 | Square feet | 70 | 0 | 45250.22 | kWh | 12896.09 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 28727.5271 | 19.773 | 0
ADELAIDE PUMP STN | Facilities related to the pumping of sewage | 1201 ADELAIDE ST N | London | N5Y 2N4 | 0 | Square feet | 168 | 8557 | 1047291.53 | kWh | 116532.09 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 320900.5943 | 0 | 267.1227
BERKSHIRE PUMP STN | Facilities related to the pumping of sewage | 201 WONDERLAND RD S | London | N6K 3T3 | 1200 | Square feet | 168 | 2537.445 | 234557.11 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 22526.8648 | 195.4643 | 92.4383
BOSTWICK PUMP STN | Facilities related to the pumping of sewage | 1451 WHARNCLIFFE RD S | London | N6L 1J9 | 375 | Square feet | 168 | 111.117 | 42134.09 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 4046.558 | 112.3576 | 379.1867
BROOKDALE PUMP STN | Facilities related to the pumping of sewage | 24 BROOKDALE AVE | London | N6J 2W4 | 0 | Square feet | 168 | 33.924 | 7871.92 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 756.0192 | 0 | 232.0457
BROUGHDALE PUMP STN | Facilities related to the pumping of sewage | 37 TOWER LN | London | N6A 3L1 | 280 | Square feet | 168 | 226.395 | 27209.3 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2613.1812 | 97.1761 | 120.1851
BYRON PUMP STN | Facilities related to the pumping of sewage | 1322 OLD BRIDGE RD | London | N6K 1Y2 | 540 | Square feet | 168 | 1534.001 | 206773.12 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 19858.4904 | 382.9132 | 134.7933
CHELSEA GREEN PUMP STN | Facilities related to the pumping of sewage | 1 ADELAIDE ST S | London | N5Z 3K2 | 100 | Square feet | 168 | 1162.408 | 51767.89 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 4971.7882 | 517.6789 | 44.535
CLARKE RD PUMP STN | Facilities related to the pumping of sewage | 479 CLARKE RD | London | N5W 6H1 | 3040 | Square feet | 168 | 1475.257 | 267436.87 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 25684.637 | 87.9727 | 181.2815
CRESTWOOD PUMP STN | Facilities related to the pumping of sewage | 999 GABOR ST | London | N6K4V5 | 0 | Square feet | 168 | 60.109 | 20646.6 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1982.8995 | 0 | 343.486
DINGMAN CREEK PUMP STN | Facilities related to the pumping of sewage | 3506 DINGMAN DR | London | N6E 3X1 | 3140 | Square feet | 168 | 175 | 172331.97 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 16550.7624 | 54.8828 | 984.7541
EAST PARK PUMP STN | Facilities related to the pumping of sewage | 1313 HAMILTON RD | London | N5W 1B1 | 2340 | Square feet | 168 | 444.049 | 88794.45 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 8527.819 | 37.9463 | 199.9654
GORE RD PUMP STN | Facilities related to the pumping of sewage | 3045 GORE RD | London | N5V 4T2 | 0 | Square feet | 168 | 3.695 | 1716.35 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 164.8383 | 0 | 464.5061
HAZELDON PUMP STN | Facilities related to the pumping of sewage | 32 1/2 HAMPTON CRES | London | N6H 2N8 | 0 | Square feet | 168 | 52.075 | 10878.74 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1044.7942 | 0 | 208.9052
HUNT CLUB PUMP STN | Facilities related to the pumping of sewage | 104 FITZWILLIAM BLVD | London | N6H 5H4 | 625 | Square feet | 168 | 724.959 | 85771.67 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 8237.5112 | 137.2347 | 118.3124
HURON PUMP STN | Facilities related to the pumping of sewage | 1099 WILLIAM ST | London | N5Y 2V4 | 256 | Square feet | 168 | 151.348 | 24274.17 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2331.2913 | 94.821 | 160.3865
HYDE PARK PUMP STN | Facilities related to the pumping of sewage | 1439 STAFFORDSHIRE RD | London | N6H 5P8 | 1313 | Square feet | 168 | 2461.611 | 85064.72 | kWh | 29.53 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 8225.4459 | 65.0256 | 34.684
MANOR PARK PUMP STN | Facilities related to the pumping of sewage | 80 TECUMSEH AVE W | London | N6C 1S1 | 0 | Square feet | 168 | 6.288 | 1894.2 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 181.919 | 0 | 301.2405
MEDWAY PUMP STN | Facilities related to the pumping of sewage | 1424 CORLEY DR | London | N6G 2K4 | 0 | Square feet | 168 | 4047.548 | 796173.05 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 76464.4597 | 0 | 196.705
NORTHRIDGE PUMP STN | Facilities related to the pumping of sewage | 19 1/2 BENSON CRES | London | N5X 2B1 | 300 | Square feet | 168 | 218.998 | 34344.02 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 3298.3997 | 114.4801 | 156.8234
PAARDEBURG PUMP STN | Facilities related to the pumping of sewage | 31 1/2 PAARDEBURG CRES | London | N5Y 1B9 | 100 | Square feet | 168 | 74.992 | 15610.52 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1499.2343 | 156.1052 | 208.1625
PITCARNIE PUMP STN | Facilities related to the pumping of sewage | 58 PITCARNIE CRES | London | N6G 4N3 | 100 | Square feet | 168 | 9.565 | 7476.17 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 718.0114 | 74.7617 | 781.6174
POND MILLS PUMP STN | Facilities related to the pumping of sewage | 1121 COMMISSIONERS RD E | London | N5Z 4L9 | 1020 | Square feet | 168 | 7731.631 | 58201.25 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 5589.648 | 57.06 | 7.5277
RIVER BEND PUMP STN | Facilities related to the pumping of sewage | 2120 KAINS RD | London | N6K 0C1 | 3800 | Square feet | 168 | 176.675 | 215294.69 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 20676.902 | 56.6565 | 1218.5917
SANDFORD PUMP STN | Facilities related to the pumping of sewage | 1251 SANDFORD | London | N5V 3Y1 | 100 | Square feet | 168 | 151.413 | 26926.34 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2586.0057 | 269.2634 | 177.8337
SOUTHLAND POLLUTION PLANT | Facilities related to the treatment of sewage | 100 DENNIS AVE | London | N6P 1B5 | 640 | Square feet | 168 | 94942 | 185315.32 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 17797.6833 | 289.5552 | 1.9519
SOUTHWINDS PUMP STN | Facilities related to the pumping of sewage | 3938 WEST GRAHAM PL | London | N6P 1G3 | 430 | Square feet | 168 | 89.774 | 100718.28 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 9672.9836 | 234.2286 | 1121.9092
SUMMERCREST PUMP STN | Facilities related to the pumping of sewage | 135 OPTIMIST PK DR | London | N6K 4M1 | 625 | Square feet | 168 | 105.676 | 38159.05 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 3664.7952 | 61.0545 | 361.0948
SUNNINGHILL PUMP STN | Facilities related to the pumping of sewage | 18 MACKELLAR AVE | London | N6H 3L9 | 0 | Square feet | 168 | 143.397 | 28482.4 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2735.4497 | 0 | 198.6262
TALBOT VILLAGE PUMP STN | Facilities related to the pumping of sewage | 6664 PACK RD | London | N6P 1M1 | 196 | Square feet | 168 | 135.571 | 72772.38 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 6989.0594 | 371.2877 | 536.7843
TRAFALGAR PUMP STN | Facilities related to the pumping of sewage | 2264 TRAFALGAR ST | London | N5V 4Z8 | 1600 | Square feet | 168 | 623.973 | 102968.62 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 9889.1063 | 64.3554 | 165.021
VICTORIA PUMP STN | Facilities related to the pumping of sewage | 27 VICTORIA ST | London | N6A 2B3 | 0 | Square feet | 168 | 25.985 | 7933.52 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 761.9353 | 0 | 305.3115
WESTFIELD VILLAGE PUMP STN | Facilities related to the pumping of sewage | 3129 POMEROY LN | London | N6P 0B6 | 0 | Square feet | 168 | 21.486 | 25270.92 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 2427.0192 | 0 | 1176.1575
WESTMOUNT PUMP STN | Facilities related to the pumping of sewage | 603 WONDERLAND RD S | London | N6J 4G7 | 1335 | Square feet | 168 | 1304.647 | 90693.14 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 8710.1692 | 67.9349 | 69.5155
WONDERLAND PUMP STN | Facilities related to the pumping of sewage | 4695 DINGMAN DR | London | N6L 1H4 | 0 | Square feet | 168 | 1430 | 1738366.4 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 166952.7091 | 0 | 1215.6408
ARVA PUMPING | Facilities related to the pumping of water | 13966 MEDWAY RD | Arva | N0M 1C0 | 7800 | Square feet | 168 | 40074 | 5708001.73 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 548196.4861 | 731.7951 | 142.4365
FANSHAWE WELLS | Facilities related to the pumping of water | 2835 CLARKE RD | London | N5X 3Y7 | 0 | Square feet | 168 | 2.562 | 79891.75 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 7672.8037 | 0 | 31183.3528
HYDE PARK PUMP STN | Facilities related to the pumping of water | 1439 STAFFORDSHIRE RD | London | N6H 5P8 | 1313 | Square feet | 168 | 1916 | 174207.38 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 16730.8768 | 132.6789 | 90.9224
HYDE PARK WELL | Facilities related to the pumping of water | 500 HYDE PARK RD | London | N6H 4Z9 | 70 | Square feet | 168 | 1 | 13042.59 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1252.6103 | 186.3227 | 13042.59
POND MILLS PUMP STN | Facilities related to the pumping of water | 1121 COMMISSIONERS RD E | London | N5Z 4L9 | 0 |  | 168 | 7731.631 | 372039.95 | kWh | 7395540 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 14017938.3204 | 0 | 10213.9109
SPRINGBANK PUMP STN/# 3 RES(split) | Facilities related to the pumping of water | 844 COMMISSIONERS RD W | London | N6K 1C2 | 0 | Square feet | 168 | 4358.016 | 831318.14 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 79839.7942 | 0 | 190.7561
WICKERSON PUMP STN | Facilities related to the pumping of water | 2080 WICKERSON RD | London | N6K 5C4 | 1120 | Square feet | 168 | 259.914 | 109033.81 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 10471.6071 | 97.3516 | 419.4996
WONDERLAND RD S PUMP STN WSTM | Facilities related to the pumping of water | 603 WONDERLAND RD S | London | N6H 3E5 | 1224 | Square feet | 168 | 7900.464 | 207330.87 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 19912.0568 | 169.388 | 26.2429
ADELAIDE PCP | Facilities related to the treatment of sewage | 1201 ADELAIDE ST N | London | N5Y 2N4 | 12900 | Square feet | 168 | 8557 | 4030935.21 | kWh | 107389.54 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 590164.5814 | 400.9494 | 604.4463
GREENWAY PCC | Facilities related to the treatment of sewage | 109 GREENSIDE AVE | London | N6J 2X5 | 35952 | Square feet | 168 | 42025 | 22818456.87 | kWh | 644846.71 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 3410649.1986 | 825.3155 | 706.0498
OXFORD PCP | Facilities related to the treatment of sewage | 1570 OXFORD ST W | London | N6H 1W2 | 6255 | Square feet | 168 | 3302 | 3376665.36 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 324294.9412 | 539.8346 | 1022.6122
POTTERSBURG PCP | Facilities related to the treatment of sewage | 1139 HAMILTON RD | London | N5W 1B1 | 11930 | Square feet | 168 | 8556 | 4747488.91 | kWh | 71088.73 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 590351.1073 | 461.2744 | 643.1749
VAUXHALL PCP | Facilities related to the treatment of sewage | 54 PRICE ST | London | N5Z 2H9 | 0 | Square feet | 168 | 5330 | 2858783.07 | kWh | 36371.93 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 343323.2789 | 0 | 608.881
FIRE HALL # 01 | Fire stations and associated offices and facilities | 400 HORTON ST E | London | N6B 1L7 | 32937 | Square feet | 168 | 0 | 382985.1 | kWh | 49575.98 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 130511.5753 | 27.6245 | 0
FIRE HALL # 02 | Fire stations and associated offices and facilities | 1103 FLORENCE ST | London | N5W 2M7 | 24700 | Square feet | 168 | 0 | 403673 | kWh | 44244.08 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 122417.8072 | 35.3801 | 0
FIRE HALL # 03 | Fire stations and associated offices and facilities | 550 COMMISSIONERS RD W | London | N6K 1B7 | 8052 | Square feet | 168 | 0 | 70782.7 | kWh | 21652.63 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 47735.0174 | 37.3698 | 0
FIRE HALL # 04 | Fire stations and associated offices and facilities | 807 COLBORNE ST | London | N6A 3Z8 | 4418 | Square feet | 168 | 0 | 76110.99 | kWh | 7580.24 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 21641.1059 | 35.4622 | 0
FIRE HALL # 05 | Fire stations and associated offices and facilities | 751 DEVERON CRES | London | N5Z 5E6 | 8120 | Square feet | 168 | 0 | 82130.57 | kWh | 13154.97 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 32758.9614 | 27.3323 | 0
FIRE HALL # 06 | Fire stations and associated offices and facilities | 590 OXFORD ST W | London | N6H 1T9 | 9666 | Square feet | 168 | 0 | 90304.24 | kWh | 20189.71 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 46844.0301 | 31.5411 | 0
FIRE HALL # 07 | Fire stations and associated offices and facilities | 1295 WEBSTER ST | London | N5V 3P8 | 6594 | Square feet | 168 | 0 | 49471.9 | kWh | 14589.4 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 32334.3948 | 31.0168 | 0
FIRE HALL # 08 | Fire stations and associated offices and facilities | 1565 WESTERN RD | London | N6G 1H5 | 6594 | Square feet | 168 | 0 | 61395.17 | kWh | 16917.6 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 37881.2635 | 36.5774 | 0
FIRE HALL # 09 | Fire stations and associated offices and facilities | 746 WELLINGTON RD | London | N6C 4R2 | 15388 | Square feet | 168 | 0 | 125673.19 | kWh | 23416.48 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 56341.4825 | 24.3396 | 0
FIRE HALL # 10 | Fire stations and associated offices and facilities | 2125 TRAFALGAR ST | London | N5V 4Z7 | 9063 | Square feet | 168 | 0 | 116282.66 | kWh | 19165.12 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 47401.88 | 35.3046 | 0
FIRE HALL # 11 | Fire stations and associated offices and facilities | 7109 WESTMINSTER DR | London | N6P 1N4 | 10187 | Square feet | 168 | 0 | 88559.97 | kWh | 21863.84 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 49841.6657 | 31.5033 | 0
FIRE HALL # 12 | Fire stations and associated offices and facilities | 275 BOLER RD | London | N6K 2J9 | 12000 | Square feet | 168 | 0 | 252605.83 | kWh | 38444.21 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 96943.9253 | 55.0985 | 0
FIRE HALL # 12-GREY BOX SEASONAL | Fire stations and associated offices and facilities | 275 BOLER RD | London | N6K 2J9 | 100 | Square feet | 168 | 0 | 13.39 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1.286 | 0.1339 | 0
FIRE HALL # 13 | Fire stations and associated offices and facilities | 790 FANSHAWE PK RD E | London | N5X 1L5 | 4400 | Square feet | 168 | 0 | 35700.48 | kWh | 4615.23 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 12154.3525 | 19.2614 | 0
FIRE HALL # 14 | Fire stations and associated offices and facilities | 2225 HYDE PARK RD | London | N6H 5K2 | 8429 | Square feet | 168 | 0 | 71243.43 | kWh | 8383.73 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 22692.7253 | 19.0229 | 0
CARLING ARENA | Indoor ice rinks | 675 GROSVENOR ST | London | N5Y 3T5 | 52390 | Square feet | 126 | 0 | 991494.71 | kWh | 94736.37 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 274334.291 | 38.1434 | 0
FARQUHARSON ARENA | Indoor ice rinks | 411 TECUMSEH AVE E | London | N6C 1T4 | 38573 | Square feet | 126 | 0 | 686768.45 | kWh | 33690.34 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 129653.1084 | 27.0869 | 0
GLEN CAIRN ARENA & POOL | Indoor ice rinks | 370 CHIPPENDALE CRES | London | N5Z 3G2 | 29370 | Square feet | 126 | 0 | 469494.68 | kWh | 41883.4 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 124276.156 | 31.1414 | 0
KINSMEN ARENA SPLASH PAD | Indoor ice rinks | 20 GRANVILLE ST | London | N6H 1J3 | 56520 | Square feet | 126 | 0 | 1039617.68 | kWh | 124062.07 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 334399.9812 | 41.7219 | 0
LAMBETH ARENA | Indoor ice rinks | 7112 BEATTIE ST | London | N6P 1A2 | 38519 | Square feet | 126 | 0 | 690525.78 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 66318.0959 | 17.9269 | 0
MEDWAY ARENA & SPLASH | Indoor ice rinks | 119 SHERWOOD FOREST SQ | London | N6G 2C3 | 25022 | Square feet | 126 | 0 | 469131.93 | kWh | 85153.47 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 206048.8801 | 54.9166 | 0
NICHOLS ARENA | Indoor ice rinks | 799 HOMEVIEW RD | London | N6C 5S6 | 75560 | Square feet | 126 | 0 | 2002974.42 | kWh | 122920.98 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 424763.387 | 43.7977 | 0
OAKRIDGE ARENA-SPL PAD-POOL | Indoor ice rinks | 825 VALETTA | London | N6H 2Z2 | 29989 | Square feet | 126 | 0 | 392108.46 | kWh | 51271.88 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 134594.0972 | 31.2453 | 0
SILVERWOOD ARENA | Indoor ice rinks | 50 SYCAMORE ST | London | N5Z 1K8 | 25032 | Square feet | 126 | 0 | 270271.9 | kWh | 26431.81 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 75929.6069 | 22.0191 | 0
ARGYLE ARENA | Indoor recreational facilities | 1948 WAVELL ST | London | N5V 1P4 | 49260 | Square feet | 126 | 0 | 1065479.68 | kWh | 108424.87 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 307319.6552 | 45.0222 | 0
STRONACH ARENA & POOL & SPLASH | Indoor recreational facilities | 1221 SANDFORD | London | N5V 2J8 | 76692 | Square feet | 126 | 0 | 1640024.43 | kWh | 132889.16 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 408751.7802 | 39.8 | 0
CANADA GAMES AQUATIC CTR | Indoor swimming pools | 1045 WONDERLAND RD N | London | N6G 2Y9 | 51248 | Square feet | 126 | 0 | 2005738.44 | kWh | 142327.46 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 461719.2585 | 68.6537 | 0
CARLING HEIGHTS OCC-POOL (Internal meter) | Indoor swimming pools | 654 ELIZABETH ST | London | N5Y 6L3 | 11690 | Square feet | 126 | 0 | 1014182.69 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 97402.1055 | 86.7564 | 0
SOUTH LONDON POOL - TVDSB | Indoor swimming pools | 565 BRADLEY AVE | London | N63 3Z8 | 18116 | Square feet | 126 | 0 | 669354.61 | kWh | 65272.56 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 187690.881 | 75.2405 | 0
ADELAIDE OPS CTRE - 1153 | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1153 ADELAIDE ST N | London | N5Y 2N4 | 25685 | Square feet | 168 | 0 | 371534.77 | kWh | 126123.04 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 274133.8241 | 66.6514 | 0
ADMIN-PCP | Storage facilities where equipment or vehicles are maintained, repaired or stored | 3901 WEST GRAHAM PL | London | N6P 1G4 | 825 | Square feet | 168 | 0 | 57694.78 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 5541.0067 | 69.9331 | 0
AJ TYLER - MAIN BLDG & (E) WATER/SEWER BLDG | Storage facilities where equipment or vehicles are maintained, repaired or stored | 663 BATHURST ST | London | N5Z 1P8 | 10068 | Square feet | 50 | 0 | 760000.94 | kWh | 65978.64 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 197731.4885 | 145.1338 | 0
AJ TYLER BLDG -# 1 WATER STORAGE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 663 BATHURST ST | London | N5Z 1P8 | 6200 | Square feet | 50 | 0 | 21742.31 | kWh | 13295.58 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 27225.114 | 26.2975 | 0
AJ TYLER BLDG- STORES BLDG | Storage facilities where equipment or vehicles are maintained, repaired or stored | 663 BATHURST ST | London | N5Z 1P8 | 1643 | Square feet | 50 | 0 | 216.53 | kWh | 115962.46 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 219262.5534 | 750.2372 | 0
AJ TYLER BLDG-# 2 SEWER STORAGE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 663 BATHURST ST | London | N5Z 1P8 | 6200 | Square feet | 50 | 0 | 39422.91 | kWh | 17647.84 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 37151.6591 | 36.6097 | 0
AJ TYLER BLDG-WATER/SEWER BLDG | Storage facilities where equipment or vehicles are maintained, repaired or stored | 663 BATHURST ST | London | N5Z 1P8 | 6000 | Square feet | 50 | 0 | 0 | kWh | 7942.94 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 15017.1368 | 14.0693 | 0
CAVENDISH OPS CTRE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 136 CAVENDISH CRES | London | N6H 1A6 | 850 | Square feet | 168 | 0 | 11044.51 | kWh | 2134.42 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 5096.1068 | 39.6808 | 0
EXETER RD OC | Storage facilities where equipment or vehicles are maintained, repaired or stored | 707 EXETER RD | London | N6E 1L3 | 57100 | Square feet | 126 | 0 | 680431.75 | kWh | 74531.19 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 206259.3454 | 25.7887 | 0
MCMANUS BOATHOUSE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 199 WONDERLAND RD S | London | N6K 3T3 | 6127 | Square feet | 60 | 0 | 25580.18 | kWh | 8931.21 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 19342.3073 | 19.6669 | 0
OXFORD OPS CTRE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1570 OXFORD ST W | London | N6H 1W2 | 4065 | Square feet | 80 | 0 | 8050.046 | kWh | 14506.7802 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 28200.0368 | 39.9077 | 0
ROSE GARDEN - OFFICE/STORAGE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 645 SPRINGBANK DR | London | N6K 4T1 | 6240 | Square feet | 70 | 0 | 53504.7 | kWh | 7023.62 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 18417.637 | 20.5369 | 0
STORAGE BUILDING | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1220 ADELAIDE ST N | London | N5Y 2N4 | 2440 | Square feet | 70 | 0 | 17022.3 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 1634.8217 | 6.9764 | 0
WILTON GROVE STORAGE | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1554 WILTON GROVE | London | N6N 1M4 | 21900 | Square feet | 70 | 0 | 23814.73 | kWh | 6013.93 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule |  |  | 0 | Giga Joule |  |  | 13657.2651 | 4.0059 | 0